domestic materials requirments [106] (revised 11-13-25)

Steel and Iron Materials. Furnish iron and steel materials in accordance with subsection 106.09. A manufactured product consisting primarily of steel and iron as defined in 23 CFR 635.410 is accepted under subsection 106.09.

Construction Materials. Furnish construction materials manufactured in the United States. Construction materials include articles, materials, or supplies that are or consist primarily of:

Non-ferrous metals.

Plastic and polymer-based products (including polyvinylchloride, composite building materials, and polymers used in fiber optic cables).

Glass (including optic glass).

Fiber optic cable (including drop cable).

Optical fiber.

Lumber.

Drywall, and

Engineered wood.

Construction materials exclude cement and cementitious materials, aggregates including stone, sand, or gravel, or aggregate binding agents (e.g., asphalt binder) or additives (e.g., polymer modifiers and admixtures).

Manufacturing processes for the construction material must occur in the United States. Manufacturing processes for each of the bulleted construction materials above are defined in 
2 CFR 184.6 and are summarized below.

Non-ferrous metals: Initial smelting or melting through final shaping, coating, and assembly.

Plastics: Initial combination of plastic, polymer based, or composite materials until item is in its final form.

Glass: Initial batching and melting, annealing, cooling, and cutting.

Fiber Optic Cable: Initial ribboning, buffering, and fiber stranding and jacketing.

Optical Fiber: Initial preform fabrication through completion of draw.

Lumber: Initial debarking, treatment, and planing.

Drywall: Initial blending of gypsum, cutting, and drying of sandwiched panels.

Engineered Wood: Initial combination of constituents until item is in its final form.

Manufactured Products. Furnish manufactured products as defined in 2 CFR 184.3 that meet the requirements of 23 CFR 635.410. Beginning with the letting of November 13, 2025, the final fabrication of all manufactured products must occur in the United States. Beginning with the November 12, 2026 bid letting, the product must be manufactured in the United States and the cost of the components of the manufactured product that are mined, produced or manufactured in the United States must be greater than 55% of the total cost of all components of the manufactured product.

With respect to precast concrete products that are classified as manufactured products, ensure the components of precast concrete products that consist wholly or predominantly of iron or steel or a combination of both meet the requirements of subsection 106.09.

General. Domestic materials preference applies to articles, materials, and supplies that are consumed in, incorporated into, or affixed to a project. It does not apply to tools, equipment, and supplies brought to the construction site and removed at or before the completion of the project (e.g., temporary aluminum scaffolding). Buy America preference does not apply to equipment and furnishings that are used at or within the finished infrastructure project but are not permanently affixed to the structure (e.g., movable chairs, desks, or computer equipment used at or within the project but are not integral or permanently affixed to a structure).

Refer to the decision tree in Section 3.5 of MT 601 to aid in appropriately categorizing specific materials.

Submit Form MDT-MAT-407 “Manufacturer’s Certificate of Compliance” for every material identified as a construction material or manufactured product. Do not incorporate materials covered by Form MDT-MAT-407 into the project until all required documentation is submitted to the Department. Ensure suppliers and manufacturers understand the domestic material and contract requirements to supply the required materials and associated documentation.

The Department will not accept items installed until all supporting documentation has been reviewed and is found to be in accordance with the contract requirements. Insufficient or unavailable documentation or documentation showing products containing construction materials of foreign origin are grounds for removal and replacement at the contractor’s expense. The Department has designated contract materials as either “construction materials” or “manufactured products” by their respective 9-digit material codes in section MT 601 of the Montana Materials Manual. The Department recognizes there will be situations where a product or material may not fit the designation indicated in section MT 601. In these cases, submit documentation demonstrating or justifying the supplier or manufacturer’s position that their specific item has been misclassified to the Project Manager at least 10 business days in advance of installation. The Department, in conjunction with FHWA, will review the submitted documentation and decide as to how that specific product or material will be classified. These determinations will be final, and the appropriate documentation as defined above is required.

The Department further recognizes there will be situations when a product or material may not be addressed in MT 601. In these cases, submit certification of the material’s domestic origin appropriate for the material classification to the Project Manager prior to installation.

The US DOT has found that it is in the public interest to issue a waiver of domestic preferences in certain situations. For construction materials and manufactured products, the domestic preference may be waived if the total value of non-compliant material is under $1,000,000 or 5% of the total applicable project costs, whichever is less. Submit actual individual material costs, minus manufacturing costs outside the defined manufacturing processes outlined above, along with justification in the form of invoices, bills of lading, or other appropriate documents to the Department if requesting the waiver.

The above waiver does not apply to iron and steel, the existing de minimis standard for iron and steel under subsection 106.09 continues to apply.

A project with a total contract value of $500,000 or less is exempt from all domestic preference regulations including steel and iron.