- PROTECTION OF STORM WATER DRAINAGE SYSTEM AND COMPLIANCE WITH LOCAL PERMIT REQUIREMENTS [208] (revised 11-14-24m)

This project is located within an area designated by the Montana Department of Environmental Quality (DEQ) as a regulated MS4. Contact the URBAN AREA to determine if additional requirements are in place for construction storm water discharges that would affect this project.

Review Subsection 208.03.1(C) for more information.